Launch Date (mmddyyyy): 12132020

Launch Location (name): Villarrica

Launch Time (UTC): 23:02

Launch Type: Radiosonde

Computer Title: ID1

Receiver Number: ID1

Helium Tank Pressure (start psi): 1510

Helium Tank Pressure (end psi): 990

Balloon Helium Fill Value (psi): 545-550

Balloon Size (grams): 600

Payload Weight (grams): 101

Radiosonde Number (# and type): DFM17 20126-028023

Radiosonde Batch (Calibration): 90259

**Record Surface Data:**

Temperature (C): 15.8

Relative Humidity (%): 63.9

Wind Speed (m/s): 0.4

Wind Direction (degrees, 0 deg = N): 240.1

Pressure (mb): 988.7

Latitude (decimal degree): -39.30697

Longitude (decimal degree): -72.104376

Altitude (meters): 276

Cloud Cover (see attachment 9):

Receiver Channel (MHz): 401.01

Prediction Path Direction:

Follow Prediction Path?:

Full Flight? (Ascent and Descent): Ascent

Max Altitude (meters mean sea level): 34176.1

Reason for Termination: Pop

Comments:

\*Saving convention for profile data: W#\_L#\_UTC\_mmddyy\_computer

\*Saving convention for this form: W#\_L#\_Overview

\*Upload the filled document to Box folder ‘Overview Forms’ in Eclipse 2020> Data